## BESS
Illustrative Equity IRR analysis
Revenue potential, base year 2023, kEUR
Investment and financing |  | Cash flow and value | EUR k | Production inputs |  |  |  |  | Capex, kEUR |  |  | 12000 | 13000 | 14000 | 15000 | 16000 | 17000 | 18000 | 19000 | 20000
[8 empty] | MW |  |  | 37.8% | -24.03% | -17.7% | -11.37% | -5.039% | 1.292% | 7.623% | 13.95% | 20.28% | 26.61%
Transaction value (EURk) | 36321.5696 | Cash flow (pre-tax) | 181940 | Capacity |  |  |  | 85 |  | 3450.8931 | 14.96% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
- EURm/MW | 427.3126 | NPV (pre-tax cash flow) | 69651 | [6 empty] | 3318.1665 | 10.54% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
7 |  | Capex | 3001.7826 | [6 empty] | 3185.4398 | 6.118% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
|  | WACC | 10% | [6 empty] | 3052.7131 | 1.697% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
Project IRR (unleveraged, including taxes) | 31.3% | [8 empty] | 2919.9865 | -2.725% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
Project IRR (unleveraged, excluding taxes) | 37.8% |  |  | Commissioning date |  |  | date | 2025-07-01 |  | 2787.2598 | -7.147% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
|  |  |  | Technical lifetime |  |  | years | 15 |  | 2654.5332 | -11.57% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
[10 empty] | 2521.8065 | -15.99% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
Capex assumptions | EUR k/MW | EUR | % | Revenue | [5 empty] | 2389.0799 | -20.41% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8% | 37.8%
Hardware |  |  |  | Revenues per year optimization model (2023 base case) |  |  |  | 15795.9436
Battery system | 250 | 21250000 | 64.36% | Real growth
Grid connection | 12 | 1020000 | 3.089% | Inflation |  |  |  | 2%
Transformer | 20 | 1700000 | 5.148% | Revenues 2024 |  |  |  | 16111.8625
Grid station / Gridge Edge Solution | 23.5294 | 2000000 | 6.057%
Total Hardware | 305.5294 | 25970000 | 78.65%
Development and installation |  |  |  | Number of cycles | 8000
Preparation of land | 17.3913 | 1478260.8696 | 4.477% | cost per cycle | 53.4141
Infrastructure (cables) and hardware installation | 30.2302 | 2569565.2174 | 7.782%
Project devlopment | 35.3151 | 3001782.6087 | 9.091%
Total development & other | 82.9366 | 7049608.6957 | 21.35%
Total capex hardware + development | 388.466 | 33019608.6957 | 100%
Contingency (10%) | 38.8466 | 3301960.8696 | 10%
Total capex + contingency | 427.3126 | 36321569.5652 | 110%
Sensitivity
Opex |  |  |  | CAPEX | 0%
O&M | % capex | 2% |  | Revenue | 0%
Trading fee | % revenues | 5%
Land lease | k€ p.a. | 23.437
Insurance | €/MW | 1000
Property tax | % property value | 1.3%
Industry and power market charges | €/MW/month | 330
Grid fee (DSO) | k€ p.a. | 1300
Admin | k€ p.a. | 100 |  |  |  | 1020
Inflation |  | 2%
DEBT
|  |  |  | Debt, % of CAPEX |  | 0%
|  |  |  | Debt, EUR |  | 0
|  |  |  | Installments after x years |  | 3
|  |  |  | Years of installments |  | 10
|  |  |  | Interest rate, % |  | 6.211% | euribor + 2-300 punkter

## Capex BESS
Assumptions
MW | 85
EUR SEK | 11.5
Capex assumptions | EUR k/MW | EUR | %
Hardware
Battery system | 250 | 21250000 | 64.36%
Grid connection | 12 | 1020000 | 3.089%
Transformer | 20 | 1700000 | 5.148%
Grid station / Gridge Edge Solution | 23.5294 | 2000000 | 6.057%
Total Hardware | 305.5294 | 25970000 | 78.65%
Development and other
Preparation of land | 17.3913 | 1478260.8696 | 4.477%
Infrastructure (cables) and hardware installation | 30.2302 | 2569565.2174 | 7.782%
Project devlopment | 35.3151 | 3001782.6087 | 9.091%
Total development & other | 82.9366 | 7049608.6957 | 21.35%
Total capex hardware + development | 388.466 | 33019608.6957 | 100%
Contingency (10%) | 38.8466 | 3301960.8696 | 10%
Total capex + contingency | 427.3126 | 36321569.5652 | 110%

## BESS assumptions (hidden)
Yearly DSO cost estimate (example from Caruna tariffs)
Assumptions
MW | 85
Days per year | 365
Fixed fee per annum | 234000
Consumptions fee
High voltage time | 12.5%
None high voltage time | 87.5%
Hours per day | 5
EUR/MWH high voltage | 9.91
EUR/MWH none high voltage | 3.29
Cost - High voltage time | 192161.0938
Cost - None high voltage time | 446566.0938
Load fee
Hours per day | 5
EUR/MWH uttag från nätet | 1.81
EUR/MWH uppladdning till nätet | 0.78
Cost - download | 280776.25
Cost - upload | 120997.5
Total | 1274500.9375

## Property tax BESS (hidden)
Other infrastructure | 1000000
Installation & preparation of land | 1000000
Total | 2000000
Repurchase value | 75%
1500000
Tax | 1.3%
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Ingående anskaffningsvärde | 2000000 | 1960000 | 1920000 | 1880000 | 1840000 | 1800000 | 1760000 | 1720000 | 1680000 | 1640000 | 1600000 | 1560000 | 1520000 | 1480000 | 1440000 | 1400000 | 1360000 | 1320000 | 1280000 | 1240000 | 1200000 | 1160000 | 1120000 | 1080000 | 1040000 | 1000000 | 960000 | 920000 | 880000 | 840000 | 800000 | 760000 | 720000 | 680000 | 640000 | 600000 | 560000 | 520000 | 480000 | 440000 | 400000 | 360000 | 320000 | 280000 | 240000 | 200000 | 160000 | 120000 | 80000 | 40000
Årlig avskrivning | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000 | 40000
Utågende anskaffningsvärde | 1960000 | 1920000 | 1880000 | 1840000 | 1800000 | 1760000 | 1720000 | 1680000 | 1640000 | 1600000 | 1560000 | 1520000 | 1480000 | 1440000 | 1400000 | 1360000 | 1320000 | 1280000 | 1240000 | 1200000 | 1160000 | 1120000 | 1080000 | 1040000 | 1000000 | 960000 | 920000 | 880000 | 840000 | 800000 | 760000 | 720000 | 680000 | 640000 | 600000 | 560000 | 520000 | 480000 | 440000 | 400000 | 360000 | 320000 | 280000 | 240000 | 200000 | 160000 | 120000 | 80000 | 40000 | 0
Repurchase value | 1500000 | 1470000 | 1440000 | 1410000 | 1380000 | 1350000 | 1320000 | 1290000 | 1260000 | 1230000 | 1200000 | 1170000 | 1140000 | 1110000 | 1080000 | 1050000 | 1020000 | 990000 | 960000 | 930000 | 900000 | 870000 | 840000 | 810000 | 780000 | 750000 | 720000 | 690000 | 660000 | 630000 | 600000 | 570000 | 540000 | 510000 | 480000 | 450000 | 420000 | 390000 | 360000 | 330000 | 300000 | 270000 | 240000 | 210000 | 180000 | 150000 | 120000 | 90000 | 60000 | 30000
Minimum rrepurchase value | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000
Real repurchase value | 1500000 | 1470000 | 1440000 | 1410000 | 1380000 | 1350000 | 1320000 | 1290000 | 1260000 | 1230000 | 1200000 | 1170000 | 1140000 | 1110000 | 1080000 | 1050000 | 1020000 | 990000 | 960000 | 930000 | 900000 | 870000 | 840000 | 810000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000 | 800000
Tax | 19500 | 19110 | 18720 | 18330 | 17940 | 17550 | 17160 | 16770 | 16380 | 15990 | 15600 | 15210 | 14820 | 14430 | 14040 | 13650 | 13260 | 12870 | 12480 | 12090 | 11700 | 11310 | 10920 | 10530 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400

## Mine
Illustrative Equity IRR analysis
Investment and financing |  |  |  | Production inputs
MW
Transaction value (EURk) | 123842.0679 |  |  | Capacity |  |  | 75
- EURm/MW | 1651.2276
|  |  |  | Commissioning date |  | date | 2028-01-01
|  |  |  | Technical lifetime |  | years | 50
Project IRR (including taxes) | 11.8%
Project IRR (excluding taxes) | 12.7% |  |  | Revenue
|  |  |  | Revenues per year optimization model (2023 base case) |  |  | 13937.5973
| EUR k/MW | EUR | % | Real growth (5 yeras) |  |  | 5%
|  |  |  | Revenues inflation |  |  | 2%
Upper reservoir | 4.24 | 318000 | 0.2538%
Upper inlet | 12.6795 | 950960 | 0.7591%
Pressure shaft | 31.6107 | 2370800 | 1.893% | Sensitivity
Surge tank | 3.8213 | 286600 | 0.2288%
Vertical pressure shaft | 106.3253 | 7974398 | 6.366% | Opex | 0%
Rock trap | 115.7043 | 8677825 | 6.927% | CAPEX | 0%
Power house | 247.921 | 18594075 | 14.84% | Revenue | 0%
Lower reservoir | 211.9567 | 15896750 | 12.69%
Equipment | 936.0451 | 70203381 | 56.04%
Total gross capex mine |  | 125272789 | 100%
DEBT
Contingency (10%) | 167.0304 | 12527278.9 | 10%
Gross capex mine + contingency |  | 137800067.9 |  | Debt, % of CAPEX |  | 60%
|  |  |  | Debt, EUR |  | 74305.2407
New water treatment plant |  | 6250000 |  | Installments starting year |  | 2029 |  | 26300000
Project development Callio |  | 1372000 |  | Years of installments |  | 20
Grid Connection | 13.6 | 1020000 |  | Interest rate, % |  | 5.967%
Grid Station | 49.3333 | 3700000
Gross capex mine + contingency + grid + other |  | 150142067.9
Subsidy | -350.6667 | -26300000
Capex + contingency + grid - subsidy | 1651.2276 | 123842067.9
Opex |  | Construction | Operation
PPHES plant operation and maintenance | k€ p.a. |  | 1540
Mine infrastructure operation and maintenance | k€ p.a. | 1536.8 | 1064
Project management | k€ p.a. | 1600 | 500
Trading fee | % revenues |  | 5%
Grid fee | k€ p.a. |  | 450
Industry and power market charges | €/MW/month |  | 330
Land lease | k€ p.a. | 23.437 | 23.437
Property tax | % property value |  | 1.3%
Inflation |  | 2% | 2%

## Capex mine 125m (hidden)
CAPEX 125 mEUR
[5 empty] | Tidigare, EUR | Difference
CAPEX | 75 MW |  | Optional +75 MW plant | Yhteensä (75+75 MW | 102901408
| investment costs MEUR | % of total | investment costs MEUR | Total investment MEUR
Upper reservoir | 318000 | 0.2308% | 105000 | 423000 | 318000 | 0
Upper inlet | 950960 | 0.6901% | 0 | 950960 | 950960 | 0
Pressure shaft | 2370800 | 1.72% | 0 | 2370800 | 2370800 | 0
Surge tank | 286600 | 0.208% | 0 | 286600 | 286600 | 0
Vertical pressure shaft | 7974398 | 5.787% | 0 | 7974398 | 3651100 | 4323298
Rock trap | 8677825 | 6.297% | 1313100 | 9990925 | 4677825 | 4000000
Power house | 18594075 | 13.49% | 16799856 | 35393931 | 16444075 | 2150000
Lower reservoir | 15896750 | 11.54% | 13231250 | 29128000 | 12888750 | 3008000
Equipment | 70203381 | 50.95% | 39810000 | 110013381 | 47120000 | 23083381
Hydro equipment | 3612000 | 2.621% | 750000 | 4362000 | 1200000 | 2412000
Mechanical equipment | 46271381 | 33.58% | 21550000 | 67821381 | 26600000 | 19671381
Electrical equipment | 16890000 | 12.26% | 14180000 | 31070000 | 15890000 | 1000000
Other costs and contigencies | 3430000 | 2.489% | 3330000 | 6760000 | 3430000 | 0
Total | 125272789 | 90.91% | 71259206 | 196531995 | 88708110 | 36564679
Contingency + Extra costs | 12527278.9 | 9.091% |  |  | 14193298 | -1666019.1
Total | 137800067.9 | 100% |  |  | 102901408 | 34898659.9

## Property tax mine (hidden)
Upper reservoir | 318000
Upper inlet | 950960
Pressure shaft | 2370800
Surge tank | 286600
Vertical pressure shaft | 7974398
Rock trap | 8677825
Power house | 18594075
Lower reservoir | 15896750
Total | 55069408
Repurchase value | 75%
41302056
Tax | 1.3%
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Ingående anskaffningsvärde | 55069408 | 53968019.84 | 52866631.68 | 51765243.52 | 50663855.36 | 49562467.2 | 48461079.04 | 47359690.88 | 46258302.72 | 45156914.56 | 44055526.4 | 42954138.24 | 41852750.08 | 40751361.92 | 39649973.76 | 38548585.6 | 37447197.44 | 36345809.28 | 35244421.12 | 34143032.96 | 33041644.8 | 31940256.64 | 30838868.48 | 29737480.32 | 28636092.16 | 27534704 | 26433315.84 | 25331927.68 | 24230539.52 | 23129151.36 | 22027763.2 | 20926375.04 | 19824986.88 | 18723598.72 | 17622210.56 | 16520822.4 | 15419434.24 | 14318046.08 | 13216657.92 | 12115269.76 | 11013881.6 | 9912493.44 | 8811105.28 | 7709717.12 | 6608328.96 | 5506940.8 | 4405552.64 | 3304164.48 | 2202776.32 | 1101388.16
Årlig avskrivning | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16 | 1101388.16
Utågende anskaffningsvärde | 53968019.84 | 52866631.68 | 51765243.52 | 50663855.36 | 49562467.2 | 48461079.04 | 47359690.88 | 46258302.72 | 45156914.56 | 44055526.4 | 42954138.24 | 41852750.08 | 40751361.92 | 39649973.76 | 38548585.6 | 37447197.44 | 36345809.28 | 35244421.12 | 34143032.96 | 33041644.8 | 31940256.64 | 30838868.48 | 29737480.32 | 28636092.16 | 27534704 | 26433315.84 | 25331927.68 | 24230539.52 | 23129151.36 | 22027763.2 | 20926375.04 | 19824986.88 | 18723598.72 | 17622210.56 | 16520822.4 | 15419434.24 | 14318046.08 | 13216657.92 | 12115269.76 | 11013881.6 | 9912493.44 | 8811105.28 | 7709717.12 | 6608328.96 | 5506940.8 | 4405552.64 | 3304164.48 | 2202776.32 | 1101388.16 | 6.3796e-08
Repurchase value | 41302056 | 40476014.88 | 39649973.76 | 38823932.64 | 37997891.52 | 37171850.4 | 36345809.28 | 35519768.16 | 34693727.04 | 33867685.92 | 33041644.8 | 32215603.68 | 31389562.56 | 30563521.44 | 29737480.32 | 28911439.2 | 28085398.08 | 27259356.96 | 26433315.84 | 25607274.72 | 24781233.6 | 23955192.48 | 23129151.36 | 22303110.24 | 21477069.12 | 20651028 | 19824986.88 | 18998945.76 | 18172904.64 | 17346863.52 | 16520822.4 | 15694781.28 | 14868740.16 | 14042699.04 | 13216657.92 | 12390616.8 | 11564575.68 | 10738534.56 | 9912493.44 | 9086452.32 | 8260411.2 | 7434370.08 | 6608328.96 | 5782287.84 | 4956246.72 | 4130205.6 | 3304164.48 | 2478123.36 | 1652082.24 | 826041.12
Minimum rrepurchase value | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2
Real repurchase value | 41302056 | 40476014.88 | 39649973.76 | 38823932.64 | 37997891.52 | 37171850.4 | 36345809.28 | 35519768.16 | 34693727.04 | 33867685.92 | 33041644.8 | 32215603.68 | 31389562.56 | 30563521.44 | 29737480.32 | 28911439.2 | 28085398.08 | 27259356.96 | 26433315.84 | 25607274.72 | 24781233.6 | 23955192.48 | 23129151.36 | 22303110.24 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2 | 22027763.2
Tax | 536926.728 | 526188.1934 | 515449.6589 | 504711.1243 | 493972.5898 | 483234.0552 | 472495.5206 | 461756.9861 | 451018.4515 | 440279.917 | 429541.3824 | 418802.8478 | 408064.3133 | 397325.7787 | 386587.2442 | 375848.7096 | 365110.175 | 354371.6405 | 343633.1059 | 332894.5714 | 322156.0368 | 311417.5022 | 300678.9677 | 289940.4331 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216 | 286360.9216

## CapaloAI (hidden)
Day-ahead revenue | 14821548.25
Energy compensation per market | 974531.71
Penalty | -128.35
Total | 15795951.61 | 15795943.61 | Total in report