## Cost of provision
Cost of provision
EUR-SEK | 11.5
|  |  |  | BESS | UPHS | Wind | Solar |  |  | Degradation | Energy losses | Variable O&M
|  |  | CAPEX | 450000 | 2000 |  |  |  | BESS | 56.25 | 8.413 | 0
|  |  | Number of cycles | 8000 |  |  |  |  | PHS | 0 | 11.7783 | 5
|  |  |  | BESS | UPHS
|  |  | Degradation | 56.25 | 0
|  |  | Energy losses | 8.413 | 11.7783
|  |  | Variable O&M | 0 | 5 | 500 | 500
|  |  | Spot price | 50 | 50
|  |  | Nät, elhandel, övrigt | 6.087 | 6.087
|  |  | Total rörlig spot + övrigt | 56.087 | 11.087
|  |  | Trading costs | 4 | 4
|  | Spot price: |  | 0 | 50 | 100 | 150 | 200
|  |  | BESS | 57.163 | 64.663 | 72.163 | 79.663 | 87.163
|  |  | UPHS | 6.2783 | 16.7783 | 27.2783 | 37.7783 | 48.2783
|  | Antal cykler per MW/MWh |  | BESS | UPHS
|  | 0.1% | FFR | 4.0647 | 4.0168
|  | 1% | FCR-D up | 4.6466 | 4.1678
|  | 1% | FCR-D dn | 4.6466 | 4.1678
|  | 17% | FCR-N | 14.9927 | 6.8523
|  | 100% | Spot | 68.663 | 20.7783
[7 empty] | Cycle cost | 64.663
Tradnig fee (EUR/MW,h)
|  |  | Rörliga | Alternativkostnad | Fasta |  | Antal cykler per MW/MWh | SEK/MWH och timme | EUR/MW och hour |  |  | Wind | Solar | PHS |  | BESS Utility | Wind | Solar | PHS
| FFR |  | 0 | Ja | Nej | 2 | 0.1% | 0.11234 | 0.0097684 |  |  |  |  | 0.00096408 | FFR | 2.0098 |  |  | 2.001
| FCR-D up |  |  | Ja | Nej | 2 | 1% | 1.1234 | 0.097684 |  |  |  |  | 0.0096408 | FCR-D up | 2.0977 | #REF! | #REF! | 2.0096
| FCR_D dn |  |  | Ja | Nej | 2 | 1% | 1.1234 | 0.097684 |  |  |  |  | 0.0096408 | FCR_D dn | 2.0977 | 2.4348 | 4.4348 | 2.0096
| FCR-N |  |  | Ja | Nej | 2 | 17% | 19.0973 | 1.6606 |  |  |  |  | 0.16389 | FCR-N | 3.6606 | #REF! | #REF! | 2.1639
| aFRR up |  |  | Ja | Nej | 2 | 40% | 44.9348 | 3.9074 |  |  |  |  | 0.38563 | aFRR up | 5.9074 | #REF! | #REF! | 2.3856
| aFRR dn |  |  | Ja | Nej | 2 | 40% | 44.9348 | 3.9074 |  |  |  |  | 0.38563 | aFRR dn | 5.9074 | 2.8696 | 4.8696 | 2.3856
EUR/MW and hour
| 1 | aFRR up | 0.0097684
| 2 | aFRR dn | 0.097684
| 3 | 0 | 0.097684
| 4 | 0 | 1.6606
| 5 | 0 | 1.6606
| 6 | 0 | 1.6606
| 7 | 1 | 3.9074
| 8 | 2 | 3.9074

## CAPEX
CAPEX [MEUR/MW] - Duration | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
BESS | 0.45 | 0.69005 | 0.92772 | 1.1606 | 1.3887 | 1.6122 | 1.8311 | 2.0455 | 2.2554 | 2.461 | 2.6622 | 2.8592 | 3.0519 | 3.2406 | 3.4252 | 3.6058 | 3.7825 | 3.9553 | 4.1243 | 4.2895
UPHS | [6 empty] | 2 | 2.053 | 2.106 | 2.159 | 2.212 | 2.265 | 2.318 | 2.371 | 2.424 | 2.477 | 2.53 | 2.583 | 2.636 | 2.689
EUR/SEK: | 11.5
1.5334
Cost/MW | 0.45 | 0.34503 | 0.30924 | 0.29015 | 0.27775 | 0.2687 | 0.26159 | 0.25569 | 0.2506 | 0.2461 | 0.24202 | 0.23826 | 0.23476 | 0.23147 | 0.22835 | 0.22536 | 0.2225 | 0.21974 | 0.21707 | 0.21448
Cost per added MW |  | 0.24005 | 0.23767 | 0.23287 | 0.22814 | 0.22348 | 0.21889 | 0.21438 | 0.20992 | 0.20554 | 0.20123 | 0.19697 | 0.19279 | 0.18867 | 0.18461 | 0.18061 | 0.17668 | 0.1728 | 0.16899 | 0.16523

## BESS
Assumptions |  |  |  | Illustrative Equity IRR analysis
MW | 85 |  |  | Investment and financing |  | Cash flow and value | EUR k | Production inputs
EUR SEK | 11.5 | [10 empty] | MW
|  |  |  | Transaction value (EURk) | 36321.5696 | Cash flow (pre-tax) | 181940 | Capacity |  |  |  | 85
|  |  |  | - EURm/MW | 427.3126 | NPV (pre-tax cash flow) | 69651
Capex assumptions | EUR k/MW | EUR | % | 7 |  | Capex | 3001.7826
[6 empty] | WACC | 10%
Hardware |  |  |  | Project IRR (unleveraged, including taxes) | 31.3%
Battery system | 250 | 21250000 | 64.36% | Project IRR (unleveraged, excluding taxes) | 37.8% |  |  | Commissioning date |  |  | date | 2025-07-01
Grid connection | 12 | 1020000 | 3.089% |  |  |  |  | Technical lifetime |  |  | years | 15
Transformer | 20 | 1700000 | 5.148%
Grid station / Gridge Edge Solution | 23.5294 | 2000000 | 6.057% | Capex assumptions | EUR k/MW | EUR | % | Revenue
Total Hardware | 305.5294 | 25970000 | 78.65%
|  |  |  | Hardware |  |  |  | Revenues per year optimization model (2023 base case) |  |  |  | 15795.9436
Development and other |  |  |  | Battery system | 250 | 21250000 | 64.36% | Real growth
Preparation of land | 17.3913 | 1478260.8696 | 4.477% | Grid connection | 12 | 1020000 | 3.089% | Inflation |  |  |  | 2%
Infrastructure (cables) and hardware installation | 30.2302 | 2569565.2174 | 7.782% | Transformer | 20 | 1700000 | 5.148% | Revenues 2024 |  |  |  | 16111.8625
Project devlopment | 35.3151 | 3001782.6087 | 9.091% | Grid station / Gridge Edge Solution | 23.5294 | 2000000 | 6.057%
Total development & other | 82.9366 | 7049608.6957 | 21.35% | Total Hardware | 305.5294 | 25970000 | 78.65%
Total capex hardware + development | 388.466 | 33019608.6957 | 100% | Development and installation
|  |  |  | Preparation of land | 17.3913 | 1478260.8696 | 4.477%
Contingency (10%) | 38.8466 | 3301960.8696 | 10% | Infrastructure (cables) and hardware installation | 30.2302 | 2569565.2174 | 7.782%
Total capex + contingency | 427.3126 | 36321569.5652 | 110% | Project devlopment | 35.3151 | 3001782.6087 | 9.091%
|  |  |  | Total development & other | 82.9366 | 7049608.6957 | 21.35%
|  |  |  | Total capex hardware + development | 388.466 | 33019608.6957 | 100%
|  |  |  | Contingency (10%) | 38.8466 | 3301960.8696 | 10%
|  |  |  | Total capex + contingency | 427.3126 | 36321569.5652 | 110%
Sensitivity
|  |  |  | Opex |  |  |  | CAPEX | 0%
|  |  |  | O&M | % capex | 2% |  | Revenue | 0%
|  |  |  | Trading fee | % revenues | 5%
|  |  |  | Land lease | k€ p.a. | 23.437
|  |  |  | Insurance | €/MW | 1000
|  |  |  | Property tax | % property value | 1.3%
|  |  |  | Industry and power market charges | €/MW/month | 330
|  |  |  | Grid fee (DSO) | k€ p.a. | 1300
|  |  |  | Admin | k€ p.a. | 100
|  |  |  | Inflation |  | 2%
DEBT
[8 empty] | Debt, % of CAPEX |  | 0%
[8 empty] | Debt, EUR |  | 0
[8 empty] | Installments after x years |  | 3
[8 empty] | Years of installments |  | 10
[8 empty] | Interest rate, % |  | 6.211% | euribor + 2-300 punkter

## PHS
Illustrative Equity IRR analysis
Investment and financing |  |  |  | Production inputs
MW
Transaction value (EURk) | #REF! |  |  | Capacity |  |  | 75
- EURm/MW | #REF!
|  |  |  | Commissioning date |  | date | 2028-01-01
|  |  |  | Technical lifetime |  | years | 50
Project IRR (including taxes) | 11.8%
Project IRR (excluding taxes) | 12.7% |  |  | Revenue
|  |  |  | Revenues per year optimization model (2023 base case) |  |  | 13937.5973
| EUR k/MW | EUR | % | Real growth (5 yeras) |  |  | 5%
|  |  |  | Revenues inflation |  |  | 2%
Upper reservoir | 4.24 | 318000 | 0.2538%
Upper inlet | 12.6795 | 950960 | 0.7591%
Pressure shaft | 31.6107 | 2370800 | 1.893% | Sensitivity
Surge tank | 3.8213 | 286600 | 0.2288%
Vertical pressure shaft | 106.3253 | 7974398 | 6.366% | Opex | 0%
Rock trap | 115.7043 | 8677825 | 6.927% | CAPEX | 0%
Power house | 247.921 | 18594075 | 14.84% | Revenue | 0%
Lower reservoir | 211.9567 | 15896750 | 12.69% |  |  |  |  | 1.3333
Equipment | 936.0451 | 70203381 | 56.04%
Total gross capex mine |  | 125272789 | 100%
DEBT
Contingency (10%) | 167.0304 | 12527278.9 | 10%
Gross capex mine + contingency |  | 137800067.9 |  | Debt, % of CAPEX |  | 60%
|  |  |  | Debt, EUR |  | #REF!
New water treatment plant |  | 6250000 |  | Installments starting year |  | 2029 |  | 26300000
Project development Callio |  | 1372000 |  | Years of installments |  | 20
Grid Connection | 13.6 | 1020000 |  | Interest rate, % |  | 5.967%
Grid Station | 49.3333 | 3700000
Gross capex mine + contingency + grid + other |  | 150142067.9
Subsidy | -350.6667 | -26300000
Capex + contingency + grid - subsidy | 1651.2276 | 123842067.9
Opex |  | Construction | Operation
PPHES plant operation and maintenance | k€ p.a. |  | 1540
Mine infrastructure operation and maintenance | k€ p.a. | 1536.8 | 1064
Project management | k€ p.a. | 1600 | 500
Trading fee | % revenues |  | 5%
Grid fee | k€ p.a. |  | 450
Industry and power market charges | €/MW/month |  | 330
Land lease | k€ p.a. | 23.437 | 23.437
Property tax | % property value |  | 1.3%
Inflation |  | 2% | 2%